## Sheet1
| PROPOSED: Starbucks LL Work |  |  |  |  | Bid Due Date: | 2023-02-17
BUILDING/SPACE:
| Broadway Crossing |  |  |  |  | Print Date:
[6 empty] | Square Footage: | 2265
| Contractor Name: | New England Construction
| Contractor Phone No.: | 401-434-0112
GENERAL CONTRACTOR BID ANALYSIS SHEET
CSI Cost Code | Description | Cost |  | $ / SF |  | Comments/Description
2000 | Division 2 - Sitework
2050 | Demolition |  | 0 | 0
2200 | Structure Excavation & Backfill |  | 343400 | 151.6115 | Site Work Package
2500 | Asphalt Paving |  |  | 0 | included
2510 | Concrete Paving |  |  | 0 | 40416
2800 | Landscaping |  | 41916 | 18.506 | Includes bike rack, fence, dumpster encl., Irrigation
| Subtotal - Division 2 |  | 385316 | 170.1174
3000 | Division 3 - Concrete
3300 | Foundations |  | 27635 | 12.2009
3300 | Slab on Grade - Interior |  | 11120 | 4.9095
3300 | Slab on Grade - Exterior |  | 26279 | 11.6022 | Includes sidewalk, patio, drive thru, dumpster pad
| Subtotal - Division 3 |  | 65034 | 28.7126
4000 | Division 4 - Masonry
4200 | Reinforced Concrete Masonry |  | 51230 | 22.6181 | Includes allowance for drive thru shelf
| Subtotal - Division 4 |  | 51230 | 22.6181
5000 | Division 5 - Metals
5120 | Structural Steel |  | 70260 | 31.0199
5210 | Bar Joist & Joist Girders |  |  | 0
5310 | Metal Roof Deck |  |  | 0
5400 | Cold Formed Metal framing |  |  | 0
5500 | Metal Fabrications |  | 6240 | 2.755
5520 | Steel Railings & Handrails |  |  | 0
| Subtotal - Division 5 |  | 76500 | 33.7748
6000 | Division 6 - Wood & Plastics
6100 | Rough Carpentry |  | 94285 | 41.6269
6200 | Finish Carpentry |  |  | 0
6400 | Architectural Woodwork/Millwork |  |  | 0
| Subtotal - Division 6 |  | 94285 | 41.6269
7000 | Division 7 - Thermal & Moisture Protection
7190 | Water Repellents |  | 11500 | 5.0773 | Air barrier
7210 | Building Insulation |  | 2841 | 1.2543
7240 | Exterior Insulation & Finish System |  | 89878 | 39.6812 | Includes ReSawn Wood siding & Soffit
7540 | Membrane Roofing |  | 66460 | 29.3422
7620 | Sheet Metal Flashings & Trim |  | 0 | 0
7720 | Roof Accessories |  |  | 0
7840 | Firestopping |  |  | 0
7900 | Joint Sealers |  | 1125 | 0.49669
| Subtotal - Division 7 |  | 171804 | 75.8517
8000 | Division 8 - Doors & Windows
8100 | Hollow Metal Doors & Frames |  | 4495 | 1.9845
8110 | Pre-finished Aluminum Frames |  |  | 0
8200 | Wood Doors |  |  | 0
8300 | Overhead Sectional Doors |  |  | 0
8310 | Impact Doors |  |  | 0
8315 | Access Doors |  |  | 0
8325 | Interior Stainless Steel Gates |  |  | 0
8400 | Aluminum Framed Entrances & Storefronts |  | 52940 | 23.3731
8460 | Automatic Entrances |  |  | 0
8700 | Door Hardware |  |  | 0
8800 | Glass & Glazing |  |  | 0
| Subtotal -Division 8 |  | 57435 | 25.3576
9000 | Division 9 - Finishes
9250 | Metal Stud |  | 0 | 0
9250 | Drywall |  | 17105 | 7.5519
9300 | Ceramic Tile |  |  | 0
9500 | Acoustical Ceilings |  |  | 0
9650 | Woodgrain vinyl tile |  |  | 0
9650 | VCT
9670 | Walk off matt
9675 | Cove Base
9680 | Carpeting |  |  | 0
9770 | Fiberglass Reinforced Wall Panels - (Acrovyn Wall System) |  |  | 0
9900 | Painting |  | 4955 | 2.1876
| Subtotal - Division 9 |  | 22060 | 9.7395
10000 | Division 10 - Specialties
10150 | Toilet Compartments |  |  | 0
10200 | Louvers & Vents |  | 2200 | 0.9713 | Awning at rear door
10260 | Impact Resistant Wall Protection |  |  | 0
10400 | Signage |  | 150 | 0.066225
10500 | Lockers |  |  | 0
10520 | Fire Specialties |  | 450 | 0.19868
10800 | Toilet Accessories |  |  | 0
| Subtotal - Division 10 |  | 2800 | 1.2362
11000 | Division 11 - Equipment
11160 | Loading Dock Equipment |  |  | 0
| Subtotal - Division 11 |  | 0 | 0
12000 | Division 12 - Furnishings
12500 | Window Treatments |  | 0 | 0
12510 | Retail Fixtures |  | 0 | 0
| Subtotal - Division 12 |  | 0 | 0
14000 | Division 14 - Conveying Systems
14200 | Elevators |  | 0 | 0
14300 | Escalators |  | 0 | 0
14400 | Conveyors |  | 0 | 0
| Subtotal - Division 14 |  | 0 | 0
15000 | Division 15 - Mechanical
15300 | Plumbing |  | 39800 | 17.5717
15400 | Fire Protection |  | 0 | 0
15600 | HVAC |  | 57900 | 25.5629
| Subtotal - Division 15 |  | 97700 | 43.1347
16000 | Division 16 - Electrical
16100 | Electrical - INTERIOR |  | 130000 | 57.3951
16720 | Fire Alarm System |  |  | 0
| Subtotal - Division 16 |  | 130000 | 57.3951
| SUBTOTAL DIRECT BUILDING COSTS |  | 1154164 | 509.5647
Miscellaneous Costs
| Permits |  |  | 0
| Tap Fees / Utility Charges / Use Fees |  |  | 0
| Taxes |  |  | 0 |  | Included
| Performance & Payment Bond |  |  | 0
| Liability Insurance |  | 19993 | 8.8269
| Builders Risk Insurance |  | N/A | 0
| Miscellaneous Costs |  |  | 0
| SUBTOTAL MISCELLANEOUS COSTS |  | 19993 | 8.8269
| GENERAL CONDITIONS |  | 180242 | 79.577
| OVERHEAD & PROFIT |  | 67720 | 29.8985
| SUBTOTAL INDIRECT BUILDING COSTS |  | 267955 | 118.3024
| TOTAL BUILDING COSTS |  | 1422119 | 627.8671
Exclusions:
1 | See attached sheet
2
3
4
5
6
7
8
Unit Prices / Add Alternates
1
2
3
4
Assumptions / Clarifications:
1 | See attached sheet
2
3
Allowances
1
2